Solar Energy

By April Halladay

I  INTRODUCTION

Solar Energy, radiation produced by nuclear fusion reactions deep in the Sun’s core (see Nuclear Energy). The Sun provides almost all the heat and light Earth receives and therefore sustains every living being.

Solar energy travels to Earth through space in discrete packets of energy called photons (see Electromagnetic Radiation). On the side of Earth facing the Sun, a square kilometer at the outer edge of our atmosphere receives 1,400 megawatts of solar power every minute, which is about the capacity of the largest electric-generating plant in Nevada. Only half of that amount, however, reaches Earth’s surface. The atmosphere and clouds absorb or scatter the other half of the incoming sunlight. The amount of light that reaches any particular point on the ground depends on the time of day, the day of the year, the amount of cloud cover, and the latitude at that point. The solar intensity varies with the time of day, peaking at solar noon and declining to a minimum at sunset. The total radiation power (1.4 kilowatts per square meter, called the solar constant) varies only slightly, about 0.2 percent every 30 years. Any substantial change would alter or end life on Earth.

II  INDIRECT COLLECTION OF SOLAR ENERGY

People can make indirect use of solar energy that has been naturally collected. Earth's atmosphere, oceans, and plant life, for example, collect solar energy that people later extract to power technology.

The Sun's energy, acting on the oceans and atmosphere, produces winds that for centuries have turned windmills and driven sailing ships (see Wind Energy). Modern windmills are strong, light, weather-resistant, aerodynamically designed machines that produce electricity when attached to generators.

Approximately 30 percent of the solar power reaching Earth is consumed by the continuous circulation of water, a system called the water cycle or hydrologic cycle. The Sun’s heat evaporates water from the oceans. Winds transport some of the water vapor from the oceans over the land where it falls as rain. Rainwater seeps into the ground or collects into streams or lakes and eventually returns to the ocean. Thus, radiant energy from the Sun is transformed to potential energy of water in streams and rivers. People can tap the power stored in the water cycle by directing these flowing waters through modern turbines. Power produced in this way is called hydroelectric power. See Waterpower; Dam.

Plants, through photosynthesis, convert solar energy to chemical energy, which fuels plant growth. People, in turn, use this stored solar energy through fuels such as wood, alcohol, and methane that are extracted from the plant life (biomass). Fossil fuels such as oil and coal are derived from geologically ancient plant life. People also eat and digest plants, or animals fed on plants, to obtain energy for their bodies.

III  DIRECT COLLECTION OF SOLAR ENERGY

People have devised two main types of artificial collectors to directly capture and utilize solar energy: flat plate collectors and concentrating collectors. Both require large surface areas exposed to the Sun since so little of the Sun’s energy reaches Earth’s surface. Even in areas of the United States that receive a lot of sunshine, a collector surface as big as a two-car garage floor is needed to gather the energy that one person typically uses during a single day.

A  Flat Plate Collectors

Flat plate collectors are typically flat, thin boxes with a transparent cover that are mounted on rooftops facing the Sun. The Sun heats a blackened metal plate inside the box, called an absorber plate, that in turn heats fluid (air or water) running through tubes within the collector. The energy transferred to the carrier fluid, divided by the total solar energy that falls on the collector, is called the collector efficiency. Flat plate collectors are typically capable of heating carrier fluids up to 82°C (180°F). Their efficiency in making use of the available energy varies between 40 and 80 percent, depending on the type of collector.

In addition to the flat plate collectors, typical hot-water and space heating systems include circulating pumps, temperature sensors, automatic controllers to activate the circulating pump, and a storage device. Either air or a liquid (water or a water-antifreeze mixture) can be used as the fluid in the solar heating system. A rock bed or a well-insulated water storage tank typically serves as an energy storage medium.

B  Concentrating Collectors

For applications such as air conditioning, central power generation, and many industrial heat requirements, flat plate collectors cannot provide carrier fluids at high enough temperatures to be effective. They may be used as first-stage heat input devices; the temperature of the carrier fluid is then boosted by other conventional heating means. Alternatively, more complex and expensive concentrating collectors can be used. These devices reflect the Sun’s rays from a large area and focus it onto a small, blackened receiving area. The light intensity is concentrated to produce temperatures of several hundred or even several thousand degrees Celsius. The concentrators move to track the Sun using devices called heliostats.

Concentrators use curved mirrors with aluminum or silver reflecting surfaces that coat the front or back surfaces of glass or plastic. Researchers are developing cheap polymer films to replace the more expensive glass. One new technique uses a pliable membrane stretched across the front of a cylinder and another across the back with a partial vacuum between. The vacuum causes the membranes to form a spherical shape ideal for concentrating sunlight.

IV  PASSIVE SOLAR HEATING

The solar energy that falls naturally on a building can be used to heat the building without special devices to capture or collect sunlight. Passive solar heating makes use of large sun-facing windows (south-facing in the Northern Hemisphere) and building materials such as brick and tile that absorb and slowly release solar heat. A designer plans the building so that the longest walls run from east to west, providing lengthy southern exposures that allow solar heat to enter the home in the winter. A well-insulated building with such construction features can trap the Sun’s energy and reduce heating bills as much as 50 percent. Passive solar designs also include natural ventilation for cooling. Shading and window overhangs also reduce summer heat while permitting winter Sun.

In direct gain, the simplest passive heating system, the Sun shines into the house and heats it up. The house’s materials store the heat and slowly release it. An indirect gain system, by contrast, captures heat between the Sun and the living space, usually in a wall that both absorbs sunlight and holds heat well. An isolated gain system isolates the heated space (a sunroom or solar greenhouse, for example) from the living space and allows the solar heat to flow into the living area via convective loops of moving air.

V  SOLAR COOLING

Solar energy can also be used for cooling. An absorption air conditioner or refrigerator uses a large solar collector to provide the heat that drives the cooling process (see Refrigeration). Solar heat is applied to the refrigerant and absorbent mixture, which is combined under pressure in a container called a generator or boiler. The Sun’s heat brings the mixture to a boil. The refrigerant (often ammonia) vaporizes, rises as a gas, and reaches the condenser. There it gives off heat and returns to liquid form. As the drops of pure refrigerant fall, they trickle into the evaporator (freezing unit) where they evaporate vigorously. Evaporation requires heat energy, which comes from the surroundings, and results in cooling: The refrigerant absorbs heat from the unit and cools the space. The refrigerant, now a gas again, rejoins the mixture in the boiler to restart the process.

VI  PHOTOVOLTAICS

Solar cells called photovoltaics made from thin slices of crystalline silicon, gallium arsenide, or other semiconductor materials convert solar radiation directly into electricity. Cells with conversion efficiencies greater than 30 percent are now available. By connecting large numbers of these cells into modules, the cost of photovoltaic electricity has been reduced to 20 to 30 cents per kilowatt-hour. Americans currently pay 6 to 7 cents per kilowatt-hour for conventionally generated electricity.

The simplest solar cells provide small amounts of power for watches and calculators. More complex systems can provide electricity to houses and electric grids. Usually though, solar cells provide low power to remote, unattended devices such as buoys, weather and communication satellites, and equipment aboard spacecraft.

VII  SOLAR ENERGY FROM SPACE

A futuristic proposal to produce power on a large scale envisions placing giant solar modules in geostationary Earth orbit. Energy generated from sunlight would then be converted to microwaves and beamed to antennas on Earth for conversion to electric power. The Sun would shine on a solar collector in geostationary orbit almost 24 hours a day; moreover, such a collector would be high above the atmosphere and so would receive the full power of the Sun’s rays. Consequently, such a collector would gather eight times more light than a similar collector on the ground. To produce as much power as five large nuclear power plants (1 billion watts each), several square miles of solar collectors, weighing 10 million pounds, would need to be assembled in orbit. An Earth-based antenna five miles in diameter would be required to receive the microwaves. Smaller systems could be built for remote islands, but the economies of scale suggest advantages to a single large system (see Space Exploration).

VIII  SOLAR ENERGY STORAGE DEVICES

Because of the intermittent nature of solar radiation as an energy source, excess solar energy produced during sunny periods must be stored. Insulated tanks commonly store this energy in hot water. Batteries often store excess electric energy produced from wind or photovoltaic devices. One possibility for the future is the use of excess solar-generated electric energy as a supplemental source for existing power networks. Uncertain economics and reliability, however, make this plan difficult to implement.

© 1993-2003 Microsoft Corporation. All rights reserved.